## Data analysis method
Steps for analyzing qPCR data for biodistribution:
Copy number = 2 × ([6.022 × 1023]/[plasmid size in bp × 1 × 1015 × 650])
1 | Calculate fg for std curve (cre).
2 | Record the Cq avg. | Cre plasmid is 5342bp
3 | Calculate fg for samples (based on std curve) (concentration mean from lightcycler software). |  | 346.8594
4 | Convert fg to vg by multiplying by 347 for Cre
i.e. (Fg sample) * (347) = vg in sample ]
6 | Calculate vg/1ug DNA.

## std curve
Standard Curve Calculations: |  | pTR CMV Cre
| pTR CMV Cre (ng/ul) | DD/well (ng) | DD/well (fg)
Stock | 10 | -
1:2 Dilution | 5 | -
A1 | 5 | 10 | 10000000
A2 | 0.5 | 1 | 1000000
A3 | 0.05 | 0.1 | 100000
A4 | 0.005 | 0.01 | 10000
A5 | 0.0005 | 0.001 | 1000
A6 | 5e-05 | 0.0001 | 100
A7 | 5e-06 | 1e-05 | 10
Luc/well (fg)
A1 | 10000000
A2 | 1000000
A3 | 100000
A4 | 10000
A5 | 1000
A6 | 100
A7 | 10

## 1e10vg
|  | 06JAN20 Study 1 CRE Liver, Heart, TA | [5 empty] | 12JAN20 Study 1 CRE Liver, Heart, TA | [6 empty] | 06JAN20 Study 1 CRE Brain | [5 empty] | 12JAN20 Study 1 CRE Brain
|  | CRE * 347 | Cq | fg | vg | vg/ug DNA | vg/ug DNA AVG | CRE * 347 | Cq | fg | vg | vg/ug DNA | vg/ug DNA AVG |  | CRE * 347 | Cq | fg | vg | vg/ug DNA | vg/ug DNA AVG | CRE * 347 | Cq | fg | vg | vg/ug DNA | vg/ug DNA AVG
Total number of ng DNA in each well transgene: 20ng (10ng * 2 ul) | 20ng | CRE 10^7 | 8.78 | 5420000 | 1880740000 | 94037000000 |  | CRE 10^7 | 8.43 | 5692000 | 1975124000 | 98756200000 |  |  | CRE 10^7 | 8.75 | 4693000 | 1628471000 | 81423550000 |  | CRE 10^7 | 8.34 | 9208000 | 3195176000 | 159758800000
Multiplication factor for 1ug DNA transgene | 50 | CRE 10^7 | 8.71 | 5683000 | 1972001000 | 98600050000 |  | CRE 10^7 | 8.35 | 6012000 | 2086164000 | 104308200000 |  |  | CRE 10^7 | 8.13 | 7082000 | 2457454000 | 122872700000 |  | CRE 10^7 | 8.38 | 8948000 | 3104956000 | 155247800000
|  | CRE 10^6 | 11.02 | 1187000 | 411889000 | 20594450000 |  | CRE 10^6 | 10.69 | 1214000 | 421258000 | 21062900000 |  |  | CRE 10^6 | 10.86 | 1157000 | 401479000 | 20073950000 |  | CRE 10^6 | 10.73 | 1669000 | 579143000 | 28957150000
|  | CRE 10^6 | 11.02 | 1187000 | 411889000 | 20594450000 |  | CRE 10^6 | 10.82 | 1110000 | 385170000 | 19258500000 |  |  | CRE 10^6 | 11 | 1055000 | 366085000 | 18304250000 |  | CRE 10^6 | 13.76 | 191400 | 66415800 | 3320790000
|  | CRE 10^5 | 14.32 | 126700 | 43964900 | 2198245000 |  | CRE 10^5 | 14.1 | 117900 | 40911300 | 2045565000 |  |  | CRE 10^5 | 14.48 | 104800 | 36365600 | 1818280000 |  | CRE 10^5 | 14.11 | 149000 | 51703000 | 2585150000
|  | CRE 10^5 | 14.17 | 140300 | 48684100 | 2434205000 |  | CRE 10^5 | 13.95 | 130600 | 45318200 | 2265910000 |  |  | CRE 10^5 | 13.88 | 156000 | 54132000 | 2706600000 |  | CRE 10^5 | 14.11 | 149000 | 51703000 | 2585150000
|  | CRE 10^4 | 17.47 | 14980 | 5198060 | 259903000 |  | CRE 10^4 | 17.23 | 13860 | 4809420 | 240471000 |  |  | CRE 10^4 | 17.09 | 18540 | 6433380 | 321669000 |  | CRE 10^4 | 17.38 | 14400 | 4996800 | 249840000
|  | CRE 10^4 | 17.3 | 16810 | 5833070 | 291653500 |  | CRE 10^4 | 16.92 | 17140 | 5947580 | 297379000 |  |  | CRE 10^4 | 17.35 | 15600 | 5413200 | 270660000 |  | CRE 10^4 | 17 | 18890 | 6554830 | 327741500
|  | CRE 10^3 | 20.7 | 1676 | 581572 | 29078600 |  | CRE 10^3 | 20.18 | 1844 | 639868 | 31993400 |  |  | CRE 10^3 | 20.71 | 1678 | 582266 | 29113300 |  | CRE 10^3 | 20.2 | 1919 | 665893 | 33294650
|  | CRE 10^3 | 20.83 | 1535 | 532645 | 26632250 |  | CRE 10^3 | 20.3 | 1699 | 589553 | 29477650 |  |  | CRE 10^3 | 20.59 | 1817 | 630499 | 31524950 |  | CRE 10^3 | 20.43 | 1628 | 564916 | 28245800
|  | CRE 10^2 | 26.09 | 43.39 | 15056.33 | 752816.5 |  | CRE 10^2 | 24.75 | 81.03 | 28117.41 | 1405870.5 |  |  | CRE 10^2 | 26.02 | 49.49 | 17173.03 | 858651.5 |  | CRE 10^2 | 24.86 | 68.66 | 23825.02 | 1191251
|  | CRE 10^2 | 26 | 46.12 | 16003.64 | 800182 |  | CRE 10^2 | 26.57 | 23.34 | 8098.98 | 404949 |  | average average | CRE 10^2 | 26.56 | 34.59 | 12002.73 | 600136.5 |  | CRE 10^2 | 26.05 | 29.33 | 10177.51 | 508875.5 |  | average average
|  | Ai9 Mock H | 34.49 | 0.146 | 50.662 | 2533.1 | 3509.3267 | Ai9 Mock H | 35.09 | 0.06885 | 23.8909 | 1194.5475 | 4455.7692 | 3982.5479 | Ai9 Mock Br | 42.32 | 0.0009934 | 0.34471 | 17.2355 | 3421.3818 | Ai9 Mock Br | 42.15 | 0.0002953 | 0.10247 | 5.1235 | 335.2442 | 1878.313
|  | Ai9 Mock H | 33.72 | 0.246 | 85.362 | 4268.1 |  | Ai9 Mock H | 32.65 | 0.3652 | 126.7244 | 6336.22 |  |  | Ai9 Mock Br | 33.48 | 0.3505 | 121.6235 | 6081.175 |  | Ai9 Mock Br | 37.8 | 0.006612 | 2.2944 | 114.7182
|  | Ai9 Mock H | 33.92 | 0.2148 | 74.5356 | 3726.78 |  | Ai9 Mock H | 32.77 | 0.3364 | 116.7308 | 5836.54 |  |  | Ai9 Mock Br | 34.05 | 0.2401 | 83.3147 | 4165.735 |  | Ai9 Mock Br | 34.94 | 0.05106 | 17.7178 | 885.891
|  | Ai9 Mock L | 42.35 | 0.000708 | 0.24568 | 12.2838 | 1729.4943 | Ai9 Mock L | 33.14 | 0.2612 | 90.6364 | 4531.82 | 3901.2053 | 2815.3498 | Ai9 Mock Bm | 41.46 | 0.001758 | 0.61003 | 30.5013 | 48.9201 | Ai9 Mock Bm | 42.38 | 0.0002505 | 0.086924 | 4.3462 | 1809.3187 | 929.1194
|  | Ai9 Mock L | 35.45 | 0.07614 | 26.4206 | 1321.029 |  | Ai9 Mock L | 32.7 | 0.3529 | 122.4563 | 6122.815 |  |  | Ai9 Mock Bm | 39.67 | 0.005765 | 2.0005 | 100.0228 |  | Ai9 Mock Bm | 33.41 | 0.1524 | 52.8828 | 2644.14
|  | Ai9 Mock L | 33.87 | 0.2222 | 77.1034 | 3855.17 |  | Ai9 Mock L | 35.28 | 0.06046 | 20.9796 | 1048.981 |  |  | Ai9 Mock Bm | 42.41 | 0.0009358 | 0.32472 | 16.2361 |  | Ai9 Mock Bm | 33.34 | 0.1602 | 55.5894 | 2779.47
|  | Ai9 Mock TA | 33 | 0.4008 | 139.0776 | 6953.88 | 4564.2067 | Ai9 Mock TA | 33.04 | 0.2797 | 97.0559 | 4852.795 | 9229.6217 | 6896.9142 | Ai9 Mock Bc | 41.32 | 0.001929 | 0.66936 | 33.4681 | 23.6107 | Ai9 Mock Bc | 35.41 | 0.03649 | 12.662 | 633.1015 | 2734.9383 | 1379.2745
|  | Ai9 Mock TA | 33.69 | 0.2511 | 87.1317 | 4356.585 |  | Ai9 Mock TA | 31.85 | 0.6311 | 218.9917 | 10949.585 |  |  | Ai9 Mock Bc | - | - | #VALUE! | #VALUE! |  | Ai9 Mock Bc | 35.79 | 0.02781 | 9.6501 | 482.5035
|  | Ai9 Mock TA | 34.58 | 0.1373 | 47.6431 | 2382.155 |  | Ai9 Mock TA | 31.73 | 0.6851 | 237.7297 | 11886.485 |  |  | Ai9 Mock Bc | 42.66 | 0.0007927 | 0.27507 | 13.7533 |  | Ai9 Mock Bc | 32.03 | 0.4086 | 141.7842 | 7089.21
|  | AAV9 S1 M1 H | 30.79 | 1.793 | 622.171 | 31108.55 | 28297.85 | AAV9 S1 M1 H | 30.37 | 1.736 | 602.392 | 30119.6 | 24908.8167 | 26603.3333 | AAV9 S1 M1 Br | 31.75 | 1.105 | 383.435 | 19171.75 | 14257.0733 | AAV9 S1 M1 Br | 33.03 | 0.1999 | 69.3653 | 3468.265 | 4786.2867 | 9521.68
|  | AAV9 S1 M1 H | 30.84 | 1.733 | 601.351 | 30067.55 |  | AAV9 S1 M1 H | 30.69 | 1.395 | 484.065 | 24203.25 |  |  | AAV9 S1 M1 Br | 32.74 | 0.5727 | 198.7269 | 9936.345 |  | AAV9 S1 M1 Br | 33 | 0.2043 | 70.8921 | 3544.605
|  | AAV9 S1 M1 H | 31.19 | 1.367 | 474.349 | 23717.45 |  | AAV9 S1 M1 H | 30.94 | 1.176 | 408.072 | 20403.6 |  |  | AAV9 S1 M1 Br | 32.26 | 0.7875 | 273.2625 | 13663.125 |  | AAV9 S1 M1 Br | 31.98 | 0.4234 | 146.9198 | 7345.99
|  | AAV9 S1 M1 L | 29.66 | 3.858 | 1338.726 | 66936.3 | 64599.8333 | AAV9 S1 M1 L | 30.02 | 2.206 | 765.482 | 38274.1 | 37672.6333 | 51136.2333 | AAV9 S1 M1 Bm | 30.59 | 2.385 | 827.595 | 41379.75 | 26447.1833 | AAV9 S1 M1 Bm | 30.87 | 0.936 | 324.792 | 16239.6 | 11925.2333 | 19186.2083
|  | AAV9 S1 M1 L | 29.79 | 3.532 | 1225.604 | 61280.2 |  | AAV9 S1 M1 L | 30.04 | 2.176 | 755.072 | 37753.6 |  |  | AAV9 S1 M1 Bm | 31.78 | 1.083 | 375.801 | 18790.05 |  | AAV9 S1 M1 Bm | 32.37 | 0.3204 | 111.1788 | 5558.94
|  | AAV9 S1 M1 L | 29.69 | 3.78 | 1311.66 | 65583 |  | AAV9 S1 M1 L | 30.07 | 2.132 | 739.804 | 36990.2 |  |  | AAV9 S1 M1 Bm | 31.75 | 1.105 | 383.435 | 19171.75 |  | AAV9 S1 M1 Bm | 31.08 | 0.8056 | 279.5432 | 13977.16
|  | AAV9 S1 M1 TA | 32.57 | 0.5365 | 186.1655 | 9308.275 | 11367.72 | AAV9 S1 M1 TA | 32.85 | 0.3185 | 110.5195 | 5525.975 | 6397.5233 | 8882.6217 | AAV9 S1 M1 Bc | 39.57 | 0.006161 | 2.1379 | 106.8933 | 688.3902 | AAV9 S1 M1 Bc | 33.47 | 0.146 | 50.662 | 2533.1 | 1192.8125 | 940.6013
|  | AAV9 S1 M1 TA | 31.91 | 0.8392 | 291.2024 | 14560.12 |  | AAV9 S1 M1 TA | 34.11 | 0.1346 | 46.7062 | 2335.31 |  |  | AAV9 S1 M1 Bc | 35.22 | 0.1105 | 38.3435 | 1917.175 |  | AAV9 S1 M1 Bc | 35.98 | 0.02428 | 8.4252 | 421.258
|  | AAV9 S1 M1 TA | 32.43 | 0.5899 | 204.6953 | 10234.765 |  | AAV9 S1 M1 TA | 31.8 | 0.6531 | 226.6257 | 11331.285 |  |  | AAV9 S1 M1 Bc | 41.01 | 0.002369 | 0.82204 | 41.1022 |  | AAV9 S1 M1 Bc | 35.43 | 0.03597 | 12.4816 | 624.0795
|  | AAV9 S1 M2 H | 30.26 | 2.568 | 891.096 | 44554.8 | 45381.8167 | AAV9 S1 M2 H | 30.15 | 2.018 | 700.246 | 35012.3 | 33196.3333 | 39289.075 | AAV9 S1 M2 Br | 34.29 | 0.2048 | 71.0656 | 3553.28 | 2572.4845 | AAV9 S1 M2 Br | 32.94 | 0.2132 | 73.9804 | 3699.02 | 3893.34 | 3232.9122
|  | AAV9 S1 M2 H | 30.24 | 2.604 | 903.588 | 45179.4 |  | AAV9 S1 M2 H | 30.04 | 2.176 | 755.072 | 37753.6 |  |  | AAV9 S1 M2 Br | 42.41 | 0.0009358 | 0.32472 | 16.2361 |  | AAV9 S1 M2 Br | 32.55 | 0.2817 | 97.7499 | 4887.495
|  | AAV9 S1 M2 H | 30.2 | 2.675 | 928.225 | 46411.25 |  | AAV9 S1 M2 H | 30.54 | 1.546 | 536.462 | 26823.1 |  |  | AAV9 S1 M2 Br | 35.5 | 0.09174 | 31.8338 | 1591.689 |  | AAV9 S1 M2 Br | 33.19 | 0.1783 | 61.8701 | 3093.505
|  | AAV9 S1 M2 L | 29.02 | 5.953 | 2065.691 | 103284.55 | 97362.4167 | AAV9 S1 M2 L | 29.67 | 2.802 | 972.294 | 48614.7 | 51812.8833 | 74587.65 | AAV9 S1 M2 Bm | 35.88 | 0.07129 | 24.7376 | 1236.8815 | 3638.8155 | AAV9 S1 M2 Bm | 35.58 | 0.03232 | 11.215 | 560.752 | 2015.3182 | 2827.0668
|  | AAV9 S1 M2 L | 28.84 | 6.726 | 2333.922 | 116696.1 |  | AAV9 S1 M2 L | 29.45 | 3.257 | 1130.179 | 56508.95 |  |  | AAV9 S1 M2 Bm | 34.61 | 0.1656 | 57.4632 | 2873.16 |  | AAV9 S1 M2 Bm | 32.75 | 0.2442 | 84.7374 | 4236.87
|  | AAV9 S1 M2 L | 29.55 | 4.156 | 1442.132 | 72106.6 |  | AAV9 S1 M2 L | 29.62 | 2.9 | 1006.3 | 50315 |  |  | AAV9 S1 M2 Bm | 33.31 | 0.3923 | 136.1281 | 6806.405 |  | AAV9 S1 M2 Bm | 34.46 | 0.07195 | 24.9667 | 1248.3325
|  | AAV9 S1 M2 TA | 31.5 | 1.108 | 384.476 | 19223.8 | 15456.5367 | AAV9 S1 M2 TA | 31.3 | 0.9193 | 318.9971 | 15949.855 | 13039.1033 | 14247.82 | AAV9 S1 M2 Bc | 33.92 | 0.2617 | 90.8099 | 4540.495 | 4214.315 | AAV9 S1 M2 Bc | 33.99 | 0.1007 | 34.9429 | 1747.145 | 2992.0075 | 3603.1612
|  | AAV9 S1 M2 TA | 31.76 | 0.929 | 322.363 | 16118.15 |  | AAV9 S1 M2 TA | 31.59 | 0.7539 | 261.6033 | 13080.165 |  |  | AAV9 S1 M2 Bc | 34.7 | 0.156 | 54.132 | 2706.6 |  | AAV9 S1 M2 Bc | - | - | #VALUE! | #VALUE!
|  | AAV9 S1 M2 TA | 32.32 | 0.6356 | 220.5532 | 11027.66 |  | AAV9 S1 M2 TA | 31.97 | 0.5814 | 201.7458 | 10087.29 |  |  | AAV9 S1 M2 Bc | 33.66 | 0.311 | 107.917 | 5395.85 |  | AAV9 S1 M2 Bc | 32.75 | 0.2442 | 84.7374 | 4236.87
|  | cc47 S1 M1 H | 30.1 | 2.863 | 993.461 | 49673.05 | 42438.1 | cc47 S1 M1 H | 30.97 | 1.152 | 399.744 | 19987.2 | 22144.3833 | 32291.2417 | cc47 S1 M1 Br | 27.77 | 15.5 | 5378.5 | 268925 | 224856 | cc47 S1 M1 Br | 28.49 | 5.129 | 1779.763 | 88988.15 | 91451.85 | 158153.925
|  | cc47 S1 M1 H | 30.21 | 2.657 | 921.979 | 46098.95 |  | cc47 S1 M1 H | 31.01 | 1.121 | 388.987 | 19449.35 |  |  | cc47 S1 M1 Br | 28.2 | 11.65 | 4042.55 | 202127.5 |  | cc47 S1 M1 Br | 28.51 | 5.056 | 1754.432 | 87721.6
|  | cc47 S1 M1 H | 30.77 | 1.818 | 630.846 | 31542.3 |  | cc47 S1 M1 H | 30.53 | 1.556 | 539.932 | 26996.6 |  |  | cc47 S1 M1 Br | 28.19 | 11.73 | 4070.31 | 203515.5 |  | cc47 S1 M1 Br | 28.36 | 5.628 | 1952.916 | 97645.8
|  | cc47 S1 M1 L | 28.28 | 9.832 | 3411.704 | 170585.2 | 185170.7667 | cc47 S1 M1 L | 28.58 | 5.905 | 2049.035 | 102451.75 | 128991.4667 | 157081.1167 | cc47 S1 M1 Bm | 28.29 | 10.97 | 3806.59 | 190329.5 | 189982.5 | cc47 S1 M1 Bm | 28.77 | 4.199 | 1457.053 | 72852.65 | 63691.85 | 126837.175
|  | cc47 S1 M1 L | 27.89 | 12.81 | 4445.07 | 222253.5 |  | cc47 S1 M1 L | 28.09 | 8.256 | 2864.832 | 143241.6 |  |  | cc47 S1 M1 Bm | 28.26 | 11.19 | 3882.93 | 194146.5 |  | cc47 S1 M1 Bm | 29.37 | 2.734 | 948.698 | 47434.9
|  | cc47 S1 M1 L | 28.35 | 9.376 | 3253.472 | 162673.6 |  | cc47 S1 M1 L | 28.11 | 8.143 | 2825.621 | 141281.05 |  |  | cc47 S1 M1 Bm | 28.33 | 10.69 | 3709.43 | 185471.5 |  | cc47 S1 M1 Bm | 28.81 | 4.08 | 1415.76 | 70788
|  | cc47 S1 M1 TA | 31.59 | 1.043 | 361.921 | 18096.05 | 19883.6783 | cc47 S1 M1 TA | 30.84 | 1.259 | 436.873 | 21843.65 | 21190.1333 | 20536.9058 | cc47 S1 M1 Bc | 34.06 | 0.2385 | 82.7595 | 4137.975 | 7788.415 | cc47 S1 M1 Bc | 32.79 | 0.2373 | 82.3431 | 4117.155 | 2303.2993 | 5045.8571
|  | cc47 S1 M1 TA | 31.12 | 1.434 | 497.598 | 24879.9 |  | cc47 S1 M1 TA | 31.22 | 0.971 | 336.937 | 16846.85 |  |  | cc47 S1 M1 Bc | 33.02 | 0.4756 | 165.0332 | 8251.66 |  | cc47 S1 M1 Bc | 35.77 | 0.02821 | 9.7889 | 489.4435
|  | cc47 S1 M1 TA | 31.71 | 0.9611 | 333.5017 | 16675.085 |  | cc47 S1 M1 TA | 30.65 | 1.434 | 497.598 | 24879.9 |  |  | cc47 S1 M1 Bc | 32.59 | 0.6326 | 219.5122 | 10975.61 |  | cc47 S1 M1 Bc | 40.41 | 0.001024 | 0.35533 | 17.7664
|  | cc47 S1 M2 H | 30.79 | 1.793 | 622.171 | 31108.55 | 25342.5667 | cc47 S1 M2 H | 30.87 | 1.234 | 428.198 | 21409.9 | 23220.0833 | 24281.325 | cc47 S1 M3 Br | 33.25 | 0.4083 | 141.6801 | 7084.005 | 6612.6633 | cc47 S1 M3 Br | 34.15 | 0.08979 | 31.1571 | 1557.8565 | 2963.3222 | 4787.9927
|  | cc47 S1 M2 H | 31.39 | 1.194 | 414.318 | 20715.9 |  | cc47 S1 M2 H | 30.68 | 1.405 | 487.535 | 24376.75 |  |  | cc47 S1 M3 Br | 33.2 | 0.422 | 146.434 | 7321.7 |  | cc47 S1 M3 Br | 32.44 | 0.3048 | 105.7656 | 5288.28
|  | cc47 S1 M2 H | 31.16 | 1.395 | 484.065 | 24203.25 |  | cc47 S1 M2 H | 30.71 | 1.376 | 477.472 | 23873.6 |  |  | cc47 S1 M3 Br | 33.65 | 0.3131 | 108.6457 | 5432.285 |  | cc47 S1 M3 Br | 33.77 | 0.1178 | 40.8766 | 2043.83
|  | cc47 S1 M2 L | 28.84 | 6.726 | 2333.922 | 116696.1 | 109183.55 | cc47 S1 M2 L | 29.3 | 3.609 | 1252.323 | 62616.15 | 66039.8833 | 87611.7167 | cc47 S1 M3 Bm | 30.75 | 2.145 | 744.315 | 37215.75 | 41524.3333 | cc47 S1 M3 Bm | 30.43 | 1.282 | 444.854 | 22242.7 | 21959.3167 | 31741.825
|  | cc47 S1 M2 L | 28.97 | 6.159 | 2137.173 | 106858.65 |  | cc47 S1 M2 L | 29.2 | 3.865 | 1341.155 | 67057.75 |  |  | cc47 S1 M3 Bm | 30.15 | 3.194 | 1108.318 | 55415.9 |  | cc47 S1 M3 Bm | 30.7 | 1.057 | 366.779 | 18338.95
|  | cc47 S1 M2 L | 29.01 | 5.994 | 2079.918 | 103995.9 |  | cc47 S1 M2 L | 29.17 | 3.945 | 1368.915 | 68445.75 |  |  | cc47 S1 M3 Bm | 30.98 | 1.841 | 638.827 | 31941.35 |  | cc47 S1 M3 Bm | 30.25 | 1.458 | 505.926 | 25296.3
|  | cc47 S1 M2 TA | 31.21 | 1.349 | 468.103 | 23405.15 | 25278.95 | cc47 S1 M2 TA | 31.17 | 1.005 | 348.735 | 17436.75 | 19657.55 | 22468.25 | cc47 S1 M3 Bc | 31.9 | 1 | 347 | 17350 | 15008.3283 | cc47 S1 M3 Bc | 33.35 | 0.1591 | 55.2077 | 2760.385 | 3618.6317 | 9313.48
|  | cc47 S1 M2 TA | 31.58 | 1.05 | 364.35 | 18217.5 |  | cc47 S1 M2 TA | 30.87 | 1.234 | 428.198 | 21409.9 |  |  | cc47 S1 M3 Bc | 31.69 | 1.15 | 399.05 | 19952.5 |  | cc47 S1 M3 Bc | 32.86 | 0.2258 | 78.3526 | 3917.63
|  | cc47 S1 M2 TA | 30.65 | 1.972 | 684.284 | 34214.2 |  | cc47 S1 M2 TA | 30.96 | 1.16 | 402.52 | 20126 |  |  | cc47 S1 M3 Bc | 33.12 | 0.4451 | 154.4497 | 7722.485 |  | cc47 S1 M3 Bc | 32.77 | 0.2408 | 83.5576 | 4177.88
|  | cc47 S1 M3 H | 29.86 | 3.369 | 1169.043 | 58452.15 | 60557.2833 | cc47 S1 M3 H | 29.66 | 2.822 | 979.234 | 48961.7 | 59053.6167 | 59805.45
|  | cc47 S1 M3 H | 29.99 | 3.084 | 1070.148 | 53507.4 |  | cc47 S1 M3 H | 29.38 | 3.417 | 1185.699 | 59284.95
|  | cc47 S1 M3 H | 29.6 | 4.018 | 1394.246 | 69712.3 |  | cc47 S1 M3 H | 29.16 | 3.972 | 1378.284 | 68914.2
|  | cc47 S1 M3 L | 28.27 | 9.899 | 3434.953 | 171747.65 | 172401.1667 | cc47 S1 M3 L | 28.11 | 8.143 | 2825.621 | 141281.05 | 124243.35 | 148322.2583
|  | cc47 S1 M3 L | 27.98 | 12.05 | 4181.35 | 209067.5 |  | cc47 S1 M3 L | 28.5 | 6.237 | 2164.239 | 108211.95
|  | cc47 S1 M3 L | 28.61 | 7.861 | 2727.767 | 136388.35 |  | cc47 S1 M3 L | 28.31 | 7.103 | 2464.741 | 123237.05
|  | cc47 S1 M3 TA | 26.17 | 41.1 | 14261.7 | 713085 | 661844.6667 | cc47 S1 M3 TA | 26.4 | 26.22 | 9098.34 | 454917 | 459138.8333 | 560491.75
|  | cc47 S1 M3 TA | 26.41 | 34.93 | 12120.71 | 606035.5 |  | cc47 S1 M3 TA | 26.36 | 26.95 | 9351.65 | 467582.5
|  | cc47 S1 M3 TA | 26.27 | 38.41 | 13328.27 | 666413.5 |  | cc47 S1 M3 TA | 26.4 | 26.22 | 9098.34 | 454917

## 1e11vg
|  | 07JAN20 Study 2 CRE Liver, Heart, TA | [5 empty] | 14JAN20 Study 2 CRE Liver, Heart, TA | [6 empty] | 07JAN20 Study 2 CRE Brain | [5 empty] | 14JAN20 Study 2 CRE Brain
|  | CRE * 347 | Cq | fg | vg | vg/ug DNA | vg/ug DNA AVG | CRE * 347 | Cq | fg | vg | vg/ug DNA | vg/ug DNA AVG |  | CRE * 347 | Cq | fg | vg | vg/ug DNA | vg/ug DNA AVG | CRE * 347 | Cq | fg | vg | vg/ug DNA | vg/ug DNA AVG
Total number of ng DNA in each well transgene: 20ng (10ng * 2 ul) | 20ng | CRE 10^7 | 8.7 | 4973000 | 1725631000 | 86281550000 |  | CRE 10^7 | 8.4 | 6546000 | 2271462000 | 113573100000 |  |  | CRE 10^7 | 8.63 | 5457000 | 1893579000 | 94678950000 |  | CRE 10^7 | 8.39 | 7063000 | 2450861000 | 122543050000
Multiplication factor for 1ug DNA transgene | 50 | CRE 10^7 | 8.53 | 5580000 | 1936260000 | 96813000000 |  | CRE 10^7 | 8.22 | 7402000 | 2568494000 | 128424700000 |  |  | CRE 10^7 | 8.43 | 6252000 | 2169444000 | 108472200000 |  | CRE 10^7 | 8.21 | 7994000 | 2773918000 | 138695900000
|  | CRE 10^6 | 10.8 | 1200000 | 416400000 | 20820000000 |  | CRE 10^5 | 14.24 | 121700 | 42229900 | 2111495000 |  |  | CRE 10^6 | 10.97 | 1113000 | 386211000 | 19310550000 |  | CRE 10^5 | 14.26 | 124300 | 43132100 | 2156605000
|  | CRE 10^6 | 10.91 | 1114000 | 386558000 | 19327900000 |  | CRE 10^5 | 14.13 | 131200 | 45526400 | 2276320000 |  |  | CRE 10^6 | 10.92 | 1151000 | 399397000 | 19969850000 |  | CRE 10^5 | 14.16 | 133100 | 46185700 | 2309285000
|  | CRE 10^5 | 14.09 | 129400 | 44901800 | 2245090000 |  | CRE 10^4 | 17.39 | 14190 | 4923930 | 246196500 |  |  | CRE 10^5 | 14.31 | 115000 | 39905000 | 1995250000 |  | CRE 10^4 | 17.44 | 13930 | 4833710 | 241685500
|  | CRE 10^5 | 13.93 | 144200 | 50037400 | 2501870000 |  | CRE 10^4 | 17.04 | 18010 | 6249470 | 312473500 |  |  | CRE 10^5 | 14.01 | 141000 | 48927000 | 2446350000 |  | CRE 10^4 | 17.1 | 17600 | 6107200 | 305360000
|  | CRE 10^4 | 17.17 | 16090 | 5583230 | 279161500 |  | CRE 10^3 | 20.25 | 2015 | 699205 | 34960250 |  |  | CRE 10^4 | 17.41 | 13980 | 4851060 | 242553000 |  | CRE 10^3 | 20.39 | 1829 | 634663 | 31733150
|  | CRE 10^4 | 16.97 | 18420 | 6391740 | 319587000 |  | CRE 10^3 | 20.44 | 1770 | 614190 | 30709500 |  |  | CRE 10^4 | 17.04 | 17980 | 6239060 | 311953000 |  | CRE 10^3 | 20.5 | 1696 | 588512 | 29425600
|  | CRE 10^3 | 20.28 | 1960 | 680120 | 34006000 |  | CRE 10^2 | 24.9 | 84.41 | 29290.27 | 1464513.5 |  |  | CRE 10^3 | 20.4 | 1833 | 636051 | 31802550 |  | CRE 10^2 | 25.1 | 71.52 | 24817.44 | 1240872
|  | CRE 10^3 | 20.49 | 1700 | 589900 | 29495000 |  | CRE 10^2 | 27.02 | 19.87 | 6894.89 | 344744.5 |  |  | CRE 10^3 | 20.57 | 1633 | 566651 | 28332550 |  | CRE 10^2 | 26.9 | 20.72 | 7189.84 | 359492
|  | CRE 10^2 | 25.1 | 75.01 | 26028.47 | 1301423.5 |  | CRE 10^1 | 29.17 | 4.581 | 1589.607 | 79480.35 |  |  | CRE 10^2 | 25.23 | 68.79 | 23870.13 | 1193506.5 |  | CRE 10^1 | 29.65 | 3.122 | 1083.334 | 54166.7
|  | CRE 10^2 | 27.09 | 19.5 | 6766.5 | 338325 |  | CRE 10^1 | 28.74 | 6.144 | 2131.968 | 106598.4 |  | average average | CRE 10^2 | 26.59 | 27.3 | 9473.1 | 473655 |  | CRE 10^1 | 28.71 | 5.962 | 2068.814 | 103440.7 |  | average average
|  | Ai9 Mock H | 33.04 | 0.3474 | 120.5478 | 6027.39 | 5383.705 | Ai9 Mock H | 33.01 | 0.3335 | 115.7245 | 5786.225 | 8111.125 | 6747.415 | Ai9 Mock Br | 33.83 | 0.1992 | 69.1224 | 3456.12 | 2215.1092 | Ai9 Mock Br | - | - | #VALUE! | #VALUE! | 853.7935 | 1534.4513
|  | Ai9 Mock H | 33.5 | 0.2544 | 88.2768 | 4413.84 |  | Ai9 Mock H | 33.41 | 0.2538 | 88.0686 | 4403.43 |  |  | Ai9 Mock Br | 33.97 | 0.1811 | 62.8417 | 3142.085 |  | Ai9 Mock Br | - | - | #VALUE! | #VALUE!
|  | Ai9 Mock H | 33.12 | 0.3291 | 114.1977 | 5709.885 |  | Ai9 Mock H | 31.7 | 0.8152 | 282.8744 | 14143.72 |  |  | Ai9 Mock Br | 40.15 | 0.002716 | 0.94245 | 47.1226 |  | Ai9 Mock Br | 35.68 | 0.04921 | 17.0759 | 853.7935
|  | Ai9 Mock L | 33.22 | 0.3075 | 106.7025 | 5335.125 | 6458.2483 | Ai9 Mock L | 34.94 | 0.08935 | 31.0044 | 1550.2225 | 2354.1058 | 4406.1771 | Ai9 Mock Bm | 35.09 | 0.0846 | 29.3562 | 1467.81 | 515.2857 | Ai9 Mock Bm | - | - | #VALUE! | #VALUE! | 2638.935 | 1577.1104
|  | Ai9 Mock L | 33.3 | 0.2913 | 101.0811 | 5054.055 |  | Ai9 Mock L | 34.2 | 0.148 | 51.356 | 2567.8 |  |  | Ai9 Mock Bm | 39.59 | 0.003974 | 1.379 | 68.9489 |  | Ai9 Mock Bm | - | - | #VALUE! | #VALUE!
|  | Ai9 Mock L | 32.45 | 0.5179 | 179.7113 | 8985.565 |  | Ai9 Mock L | 34 | 0.1697 | 58.8859 | 2944.295 |  |  | Ai9 Mock Bm | 42.57 | 0.0005244 | 0.18197 | 9.0983 |  | Ai9 Mock Bm | 34.04 | 0.1521 | 52.7787 | 2638.935
|  | Ai9 Mock TA | 31.93 | 0.7364 | 255.5308 | 12776.54 | 9369 | Ai9 Mock TA | 30.87 | 1.436 | 498.292 | 24914.6 | 16281.8183 | 12825.4092 | Ai9 Mock Bc | 34.53 | 0.1238 | 42.9586 | 2147.93 | 1078.2157 | Ai9 Mock Bc | - | - | #VALUE! | #VALUE! | 11.9012 | 545.0585
|  | Ai9 Mock TA | 32.7 | 0.4373 | 151.7431 | 7587.155 |  | Ai9 Mock TA | 31.95 | 0.6873 | 238.4931 | 11924.655 |  |  | Ai9 Mock Bc | 42.67 | 0.00049 | 0.17003 | 8.5015 |  | Ai9 Mock Bc | 41.95 | 0.0006576 | 0.22819 | 11.4094
|  | Ai9 Mock TA | 32.67 | 0.4463 | 154.8661 | 7743.305 |  | Ai9 Mock TA | 31.94 | 0.692 | 240.124 | 12006.2 |  |  | Ai9 Mock Bc | - | - | #VALUE! | #VALUE! |  | Ai9 Mock Bc | 41.83 | 0.0007143 | 0.24786 | 12.3931
|  | AAV9 S2 M1 H | 27.69 | 12.99 | 4507.53 | 225376.5 | 231217.6667 | AAV9 S2 M1 H | 27.68 | 12.66 | 4393.02 | 219651 | 231911.6667 | 231564.6667 | AAV9 S2 M1 Br | 32.19 | 0.6072 | 210.6984 | 10534.92 | 11810.7233 | AAV9 S2 M1 Br | 31.7 | 0.7615 | 264.2405 | 13212.025 | 13670.065 | 12740.3942
|  | AAV9 S2 M1 H | 27.87 | 11.5 | 3990.5 | 199525 |  | AAV9 S2 M1 H | 27.48 | 14.51 | 5034.97 | 251748.5 |  |  | AAV9 S2 M1 Br | 31.99 | 0.6956 | 241.3732 | 12068.66 |  | AAV9 S2 M1 Br | 32.41 | 0.4672 | 162.1184 | 8105.92
|  | AAV9 S2 M1 H | 27.43 | 15.49 | 5375.03 | 268751.5 |  | AAV9 S2 M1 H | 27.65 | 12.93 | 4486.71 | 224335.5 |  |  | AAV9 S2 M1 Br | 31.9 | 0.7394 | 256.5718 | 12828.59 |  | AAV9 S2 M1 Br | 31.12 | 1.135 | 393.845 | 19692.25
|  | AAV9 S2 M1 L | 24.44 | 117.3 | 40703.1 | 2035155 | 2140990 | AAV9 S2 M1 L | 24.52 | 109.4 | 37961.8 | 1898090 | 1826955 | 1983972.5 | AAV9 S2 M1 Bm | 33.42 | 0.2632 | 91.3304 | 4566.52 | 5952.785 | AAV9 S2 M1 Bm | 41.71 | 0.0007757 | 0.26917 | 13.4584 | 3712.1811 | 4832.4831
|  | AAV9 S2 M1 L | 24.27 | 131.6 | 45665.2 | 2283260 |  | AAV9 S2 M1 L | 24.6 | 103.6 | 35949.2 | 1797460 |  |  | AAV9 S2 M1 Bm | 32.69 | 0.4322 | 149.9734 | 7498.67 |  | AAV9 S2 M1 Bm | 33.05 | 0.3007 | 104.3429 | 5217.145
|  | AAV9 S2 M1 L | 24.39 | 121.3 | 42091.1 | 2104555 |  | AAV9 S2 M1 L | 24.61 | 102.9 | 35706.3 | 1785315 |  |  | AAV9 S2 M1 Bm | 33.07 | 0.3339 | 115.8633 | 5793.165 |  | AAV9 S2 M1 Bm | 32.87 | 0.3404 | 118.1188 | 5905.94
|  | AAV9 S2 M1 TA | 29.96 | 2.795 | 969.865 | 48493.25 | 45497.4833 | AAV9 S2 M1 TA | 30.21 | 2.253 | 781.791 | 39089.55 | 42981.7333 | 44239.6083 | AAV9 S2 M1 Bc | 38.1 | 0.01094 | 3.7962 | 189.809 | 108.2206 | AAV9 S2 M1 Bc | 42.16 | 0.0005691 | 0.19748 | 9.8739 | 14756.2276 | 7432.2241
|  | AAV9 S2 M1 TA | 30.25 | 2.296 | 796.712 | 39835.6 |  | AAV9 S2 M1 TA | 30.41 | 1.966 | 682.202 | 34110.1 |  |  | AAV9 S2 M1 Bc | 43.47 | 0.0002845 | 0.098721 | 4.9361 |  | AAV9 S2 M1 Bc | 35.78 | 0.04594 | 15.9412 | 797.059
|  | AAV9 S2 M1 TA | 29.97 | 2.776 | 963.272 | 48163.6 |  | AAV9 S2 M1 TA | 29.69 | 3.213 | 1114.911 | 55745.55 |  |  | AAV9 S2 M1 Bc | 40.99 | 0.001535 | 0.53264 | 26.6322 |  | AAV9 S2 M1 Bc | 29.97 | 2.505 | 869.235 | 43461.75
|  | AAV9 S2 M2 H | 26.45 | 30.08 | 10437.76 | 521888 | 521830.1667 | AAV9 S2 M2 H | 26.61 | 26.28 | 9119.16 | 455958 | 458097.8333 | 489964 | AAV9 S2 M2 Br | 30.69 | 1.683 | 584.001 | 29200.05 | 41697.8333 | AAV9 S2 M2 Br | 30.06 | 2.354 | 816.838 | 40841.9 | 34219.9833 | 37958.9083
|  | AAV9 S2 M2 H | 26.44 | 30.28 | 10507.16 | 525358 |  | AAV9 S2 M2 H | 26.63 | 25.92 | 8994.24 | 449712 |  |  | AAV9 S2 M2 Br | 29.47 | 3.856 | 1338.032 | 66901.6 |  | AAV9 S2 M2 Br | 30.76 | 1.454 | 504.538 | 25226.9
|  | AAV9 S2 M2 H | 26.46 | 29.87 | 10364.89 | 518244.5 |  | AAV9 S2 M2 H | 26.57 | 27.01 | 9372.47 | 468623.5 |  |  | AAV9 S2 M2 Br | 30.7 | 1.671 | 579.837 | 28991.85 |  | AAV9 S2 M2 Br | 30.22 | 2.109 | 731.823 | 36591.15
|  | AAV9 S2 M2 L | 24.38 | 122.1 | 42368.7 | 2118435 | 2128845 | AAV9 S2 M2 L | 24.63 | 101.5 | 35220.5 | 1761025 | 1811340 | 1970092.5 | AAV9 S2 M2 Bm | 33.16 | 0.3141 | 108.9927 | 5449.635 | 3711.7433 | AAV9 S2 M2 Bm | 40.98 | 0.001282 | 0.44485 | 22.2427 | 3818.0526 | 3764.898
|  | AAV9 S2 M2 L | 24.34 | 125.5 | 43548.5 | 2177425 |  | AAV9 S2 M2 L | 24.64 | 100.8 | 34977.6 | 1748880 |  |  | AAV9 S2 M2 Bm | 34.49 | 0.1272 | 44.1384 | 2206.92 |  | AAV9 S2 M2 Bm | 33.41 | 0.2347 | 81.4409 | 4072.045
|  | AAV9 S2 M2 L | 24.4 | 120.5 | 41813.5 | 2090675 |  | AAV9 S2 M2 L | 24.5 | 110.9 | 38482.3 | 1924115 |  |  | AAV9 S2 M2 Bm | 33.82 | 0.2005 | 69.5735 | 3478.675 |  | AAV9 S2 M2 Bm | 32.55 | 0.4242 | 147.1974 | 7359.87
|  | AAV9 S2 M2 TA | 32.15 | 0.6345 | 220.1715 | 11008.575 | 18012.1917 | AAV9 S2 M2 TA | 30.85 | 1.456 | 505.232 | 25261.6 | 18052.0967 | 18032.1442 | AAV9 S2 M2 Bc | 33.61 | 0.2313 | 80.2611 | 4013.055 | 2922.3183 | AAV9 S2 M2 Bc | 33.83 | 0.1758 | 61.0026 | 3050.13 | 3039.72 | 2981.0192
|  | AAV9 S2 M2 TA | 31.38 | 1.069 | 370.943 | 18547.15 |  | AAV9 S2 M2 TA | 31.54 | 0.9092 | 315.4924 | 15774.62 |  |  | AAV9 S2 M2 Bc | 34.19 | 0.156 | 54.132 | 2706.6 |  | AAV9 S2 M2 Bc | - | - | #VALUE! | #VALUE!
|  | AAV9 S2 M2 TA | 30.97 | 1.411 | 489.617 | 24480.85 |  | AAV9 S2 M2 TA | 31.81 | 0.7562 | 262.4014 | 13120.07 |  |  | AAV9 S2 M2 Bc | 34.6 | 0.118 | 40.946 | 2047.3 |  | AAV9 S2 M2 Bc | 33.84 | 0.1746 | 60.5862 | 3029.31
|  | AAV9 S2 M3 H | 29.05 | 5.174 | 1795.378 | 89768.9 | 104261.9333 | AAV9 S2 M3 H | 29.35 | 4.052 | 1406.044 | 70302.2 | 78346.8167 | 91304.375 | AAV9 S2 M3 Br | 42.27 | 0.000643 | 0.22312 | 11.1561 | 5509.4925 | AAV9 S2 M3 Br | 32.59 | 0.4127 | 143.2069 | 7160.345 | 6258.7233 | 5884.1079
|  | AAV9 S2 M3 H | 28.61 | 6.97 | 2418.59 | 120929.5 |  | AAV9 S2 M3 H | 29.27 | 4.279 | 1484.813 | 74240.65 |  |  | AAV9 S2 M3 Br | 32.79 | 0.4038 | 140.1186 | 7005.93 |  | AAV9 S2 M3 Br | 33.03 | 0.3049 | 105.8003 | 5290.015
|  | AAV9 S2 M3 H | 28.86 | 5.884 | 2041.748 | 102087.4 |  | AAV9 S2 M3 H | 28.98 | 5.216 | 1809.952 | 90497.6 |  |  | AAV9 S2 M3 Br | 33.61 | 0.2313 | 80.2611 | 4013.055 |  | AAV9 S2 M3 Br | 32.77 | 0.3646 | 126.5162 | 6325.81
|  | AAV9 S2 M3 L | 26.41 | 30.9 | 10722.3 | 536115 | 500778.8333 | AAV9 S2 M3 L | 26.65 | 25.57 | 8872.79 | 443639.5 | 454685.6667 | 477732.25 | AAV9 S2 M3 Bm | 31.53 | 0.9508 | 329.9276 | 16496.38 | 14454.285 | AAV9 S2 M3 Bm | 32.79 | 0.3597 | 124.8159 | 6240.795 | 8252.2383 | 11353.2617
|  | AAV9 S2 M3 L | 26.51 | 28.88 | 10021.36 | 501068 |  | AAV9 S2 M3 L | 26.41 | 30.12 | 10451.64 | 522582 |  |  | AAV9 S2 M3 Bm | 32.6 | 0.4595 | 159.4465 | 7972.325 |  | AAV9 S2 M3 Bm | 31.92 | 0.6545 | 227.1115 | 11355.575
|  | AAV9 S2 M3 L | 26.62 | 26.81 | 9303.07 | 465153.5 |  | AAV9 S2 M3 L | 26.81 | 22.93 | 7956.71 | 397835.5 |  |  | AAV9 S2 M3 Bm | 31.33 | 1.089 | 377.883 | 18894.15 |  | AAV9 S2 M3 Bm | 32.59 | 0.4127 | 143.2069 | 7160.345
|  | AAV9 S2 M3 TA | 29.69 | 3.355 | 1164.185 | 58209.25 | 63761.25 | AAV9 S2 M3 TA | 30.13 | 2.38 | 825.86 | 41293 | 48869.1667 | 56315.2083 | AAV9 S2 M3 Bc | 35.3 | 0.07335 | 25.4524 | 1272.6225 | 1599.2362 | AAV9 S2 M3 Bc | 34.26 | 0.1308 | 45.3876 | 2269.38 | 2637.7783 | 2118.5073
|  | AAV9 S2 M3 TA | 29.35 | 4.223 | 1465.381 | 73269.05 |  | AAV9 S2 M3 TA | 30.11 | 2.412 | 836.964 | 41848.2 |  |  | AAV9 S2 M3 Bc | 34.69 | 0.111 | 38.517 | 1925.85 |  | AAV9 S2 M3 Bc | 34.22 | 0.1344 | 46.6368 | 2331.84
|  | AAV9 S2 M3 TA | 29.65 | 3.447 | 1196.109 | 59805.45 |  | AAV9 S2 M3 TA | 29.5 | 3.658 | 1269.326 | 63466.3 |  |  | AAV9 S2 M3 Bc | 40.11 | 0.002791 | 0.96848 | 48.4239 |  | AAV9 S2 M3 Bc | 33.71 | 0.1909 | 66.2423 | 3312.115
|  | cc47 S2 M1 H | 26.72 | 25.05 | 8692.35 | 434617.5 | 403156.1667 | cc47 S2 M1 H | 26.9 | 21.56 | 7481.32 | 374066 | 388061.6667 | 395608.9167 | cc47 S2 M1 Br | 32.52 | 0.4852 | 168.3644 | 8418.22 | 11745.3717 | cc47 S2 M1 Br | 33.59 | 0.2074 | 71.9678 | 3598.39 | 5748.6333 | 8747.0025
|  | cc47 S2 M1 H | 26.87 | 22.63 | 7852.61 | 392630.5 |  | cc47 S2 M1 H | 26.82 | 22.77 | 7901.19 | 395059.5 |  |  | cc47 S2 M1 Br | 31.85 | 0.765 | 265.455 | 13272.75 |  | cc47 S2 M1 Br | 33.98 | 0.1586 | 55.0342 | 2751.71
|  | cc47 S2 M1 H | 26.91 | 22.03 | 7644.41 | 382220.5 |  | cc47 S2 M1 H | 26.82 | 22.77 | 7901.19 | 395059.5 |  |  | cc47 S2 M1 Br | 31.82 | 0.7807 | 270.9029 | 13545.145 |  | cc47 S2 M1 Br | 31.98 | 0.628 | 217.916 | 10895.8
|  | cc47 S2 M1 L | 23.78 | 183.3 | 63605.1 | 3180255 | 3116638.3333 | cc47 S2 M1 L | 24.2 | 136.1 | 47226.7 | 2361335 | 2252608.3333 | 2684623.3333 | cc47 S2 M1 Bm | 31.45 | 1.004 | 348.388 | 17419.4 | 12391.9483 | cc47 S2 M1 Bm | 32.34 | 0.4902 | 170.0994 | 8504.97 | 7779.74 | 10085.8442
|  | cc47 S2 M1 L | 23.83 | 177.2 | 61488.4 | 3074420 |  | cc47 S2 M1 L | 24.29 | 128 | 44416 | 2220800 |  |  | cc47 S2 M1 Bm | 32.32 | 0.5558 | 192.8626 | 9643.13 |  | cc47 S2 M1 Bm | 32.11 | 0.5743 | 199.2821 | 9964.105
|  | cc47 S2 M1 L | 23.82 | 178.4 | 61904.8 | 3095240 |  | cc47 S2 M1 L | 24.32 | 125.4 | 43513.8 | 2175690 |  |  | cc47 S2 M1 Bm | 32.25 | 0.5829 | 202.2663 | 10113.315 |  | cc47 S2 M1 Bm | 33.15 | 0.2807 | 97.4029 | 4870.145
|  | cc47 S2 M1 TA | 29.12 | 4.935 | 1712.445 | 85622.25 | 113769.7333 | cc47 S2 M1 TA | 29.01 | 5.11 | 1773.17 | 88658.5 | 97767.25 | 105768.4917 | cc47 S2 M1 Bc | 31.71 | 0.8413 | 291.9311 | 14596.555 | 9769.2067 | cc47 S2 M1 Bc | 31.64 | 0.7936 | 275.3792 | 13768.96 | 9408.3267 | 9588.7667
|  | cc47 S2 M1 TA | 28.73 | 6.426 | 2229.822 | 111491.1 |  | cc47 S2 M1 TA | 28.78 | 5.978 | 2074.366 | 103718.3 |  |  | cc47 S2 M1 Bc | 32.25 | 0.5829 | 202.2663 | 10113.315 |  | cc47 S2 M1 Bc | 32.07 | 0.5903 | 204.8341 | 10241.705
|  | cc47 S2 M1 TA | 28.35 | 8.311 | 2883.917 | 144195.85 |  | cc47 S2 M1 TA | 28.82 | 5.817 | 2018.499 | 100924.95 |  |  | cc47 S2 M1 Bc | 33.41 | 0.265 | 91.955 | 4597.75 |  | cc47 S2 M1 Bc | 33.36 | 0.2429 | 84.2863 | 4214.315
|  | cc47 S2 M2 H | 27.29 | 17.03 | 5909.41 | 295470.5 | 306574.5 | cc47 S2 M2 H | 27.3 | 16.41 | 5694.27 | 284713.5 | 284308.6667 | 295441.5833 | cc47 S2 M2 Br | 33.6 | 0.2329 | 80.8163 | 4040.815 | 5948.7367 | cc47 S2 M2 Br | 32.97 | 0.3177 | 110.2419 | 5512.095 | 2991.9497 | 4470.3432
|  | cc47 S2 M2 H | 27.16 | 18.6 | 6454.2 | 322710 |  | cc47 S2 M2 H | 27.24 | 17.1 | 5933.7 | 296685 |  |  | cc47 S2 M2 Br | 32.72 | 0.4235 | 146.9545 | 7347.725 |  | cc47 S2 M2 Br | 34.08 | 0.148 | 51.356 | 2567.8
|  | cc47 S2 M2 H | 27.26 | 17.38 | 6030.86 | 301543 |  | cc47 S2 M2 H | 27.37 | 15.65 | 5430.55 | 271527.5 |  |  | cc47 S2 M2 Br | 32.91 | 0.3722 | 129.1534 | 6457.67 |  | cc47 S2 M2 Br | 35.61 | 0.05164 | 17.9191 | 895.954
|  | cc47 S2 M2 L | 24.86 | 88.24 | 30619.28 | 1530964 | 1584633.3333 | cc47 S2 M2 L | 25.16 | 70.69 | 24529.43 | 1226471.5 | 1232081.3333 | 1408357.3333 | cc47 S2 M2 Bm | 33.15 | 0.3162 | 109.7214 | 5486.07 | 4761.9967 | cc47 S2 M2 Bm | 32.88 | 0.338 | 117.286 | 5864.3 | 6471.897 | 5616.9468
|  | cc47 S2 M2 L | 24.83 | 90.05 | 31247.35 | 1562367.5 |  | cc47 S2 M2 L | 25.16 | 70.69 | 24529.43 | 1226471.5 |  |  | cc47 S2 M2 Bm | 33.51 | 0.2476 | 85.9172 | 4295.86 |  | cc47 S2 M2 Bm | 35.27 | 0.06526 | 22.6452 | 1132.261
|  | cc47 S2 M2 L | 24.74 | 95.71 | 33211.37 | 1660568.5 |  | cc47 S2 M2 L | 25.14 | 71.66 | 24866.02 | 1243301 |  |  | cc47 S2 M2 Bm | 33.44 | 0.2596 | 90.0812 | 4504.06 |  | cc47 S2 M2 Bm | 31.79 | 0.7158 | 248.3826 | 12419.13
|  | cc47 S2 M2 TA | 29.93 | 2.852 | 989.644 | 49482.2 | 45017.4667 | cc47 S2 M2 TA | 33.18 | 0.2969 | 103.0243 | 5151.215 | 4024.6217 | 24521.0442 | cc47 S2 M2 Bc | - | - | #VALUE! | #VALUE! | 835.7495 | cc47 S2 M2 Bc | 34.54 | 0.1078 | 37.4066 | 1870.33 | 1717.4765 | 1276.613
|  | cc47 S2 M2 TA | 30.13 | 2.491 | 864.377 | 43218.85 |  | cc47 S2 M2 TA | 33.33 | 0.2681 | 93.0307 | 4651.535 |  |  | cc47 S2 M2 Bc | 35.61 | 0.05942 | 20.6187 | 1030.937 |  | cc47 S2 M2 Bc | - | - | #VALUE! | #VALUE!
|  | cc47 S2 M2 TA | 30.16 | 2.441 | 847.027 | 42351.35 |  | cc47 S2 M2 TA | 34.38 | 0.1309 | 45.4223 | 2271.115 |  |  | cc47 S2 M2 Bc | 36.31 | 0.03692 | 12.8112 | 640.562 |  | cc47 S2 M2 Bc | 34.8 | 0.09018 | 31.2925 | 1564.623
|  | cc47 S2 M3 H | 30.71 | 1.682 | 583.654 | 29182.7 | 34792.5333 | cc47 S2 M3 H | 30.78 | 1.527 | 529.869 | 26493.45 | 42848.7167 | 38820.625 | cc47 S2 M3 Br | 32.65 | 0.4442 | 154.1374 | 7706.87 | 9003.4933 | cc47 S2 M3 Br | 32.91 | 0.3311 | 114.8917 | 5744.585 | 8034.2067 | 8518.85
|  | cc47 S2 M3 H | 30.05 | 2.629 | 912.263 | 45613.15 |  | cc47 S2 M3 H | 29.79 | 3.001 | 1041.347 | 52067.35 |  |  | cc47 S2 M3 Br | 32.26 | 0.579 | 200.913 | 10045.65 |  | cc47 S2 M3 Br | 33.07 | 0.2966 | 102.9202 | 5146.01
|  | cc47 S2 M3 H | 30.69 | 1.705 | 591.635 | 29581.75 |  | cc47 S2 M3 H | 29.85 | 2.881 | 999.707 | 49985.35 |  |  | cc47 S2 M3 Br | 32.38 | 0.5336 | 185.1592 | 9257.96 |  | cc47 S2 M3 Br | 31.7 | 0.7615 | 264.2405 | 13212.025
|  | cc47 S2 M3 L | 25.48 | 58 | 20126 | 1006300 | 1083449.6667 | cc47 S2 M3 L | 25.53 | 54.91 | 19053.77 | 952688.5 | 950837.8333 | 1017143.75 | cc47 S2 M3 Bm | 31.26 | 1.142 | 396.274 | 19813.7 | 21953.5333 | cc47 S2 M3 Bm | 30.49 | 1.751 | 607.597 | 30379.85 | 24763.655 | 23358.5942
|  | cc47 S2 M3 L | 25.27 | 66.86 | 23200.42 | 1160021 |  | cc47 S2 M3 L | 25.58 | 53.07 | 18415.29 | 920764.5 |  |  | cc47 S2 M3 Bm | 31.06 | 1.309 | 454.223 | 22711.15 |  | cc47 S2 M3 Bm | 30.57 | 1.657 | 574.979 | 28748.95
|  | cc47 S2 M3 L | 25.37 | 62.48 | 21680.56 | 1084028 |  | cc47 S2 M3 L | 25.49 | 56.43 | 19581.21 | 979060.5 |  |  | cc47 S2 M3 Bm | 31.02 | 1.345 | 466.715 | 23335.75 |  | cc47 S2 M3 Bm | 31.5 | 0.8739 | 303.2433 | 15162.165
|  | cc47 S2 M3 TA | 25.8 | 46.7 | 16204.9 | 810245 | 645767 | cc47 S2 M3 TA | 25.93 | 41.8 | 14504.6 | 725230 | 685498.5 | 665632.75 | cc47 S2 M3 Bc | 34.21 | 0.1539 | 53.4033 | 2670.165 | 3697.285 | cc47 S2 M3 Bc | - | - | #VALUE! | #VALUE! | 4129.3 | 3913.2925
|  | cc47 S2 M3 TA | 25.94 | 42.48 | 14740.56 | 737028 |  | cc47 S2 M3 TA | 26.1 | 37.22 | 12915.34 | 645767 |  |  | cc47 S2 M3 Bc | 33.37 | 0.2723 | 94.4881 | 4724.405 |  | cc47 S2 M3 Bc | 33.39 | 0.238 | 82.586 | 4129.3
|  | cc47 S2 M3 TA | 26.88 | 22.48 | 7800.56 | 390028 |  | cc47 S2 M3 TA | - | - | #VALUE! | #VALUE! |  |  | cc47 S2 M3 Bc | 36.69 | 0.02852 | 9.8964 | 494.822 |  | cc47 S2 M3 Bc | - | - | #VALUE! | #VALUE!

## 1e12vg
Total number of ng DNA in each well transgene: 20ng (10ng * 2 ul) | 20 ng | Cre | Cq | fg | vg | vg/ug DNA | Cre | Cq | fg | vg | vg/ug DNA | Cre | Cq | fg | vg | vg/ug DNA | VG/ug DNA avg
Multiplication factor for 1ug DNA transgene | 50 | 47 LP M BR Brain | 26.1 | 8.877 | 3080.319 | 154015.95 | 47 LP M BR Brain | 25.89 | 7.774 | 2697.578 | 134878.9 | 47 LP M BR Brain | 25.29 | 12.2 | 4233.4 | 211670 | 166854.95
|  | 47 LPLP F BR Brain | 25.93 | 9.929 | 3445.363 | 172268.15 | 47 LPLP F BR Brain | 26.01 | 7.16 | 2484.52 | 124226 | 47 LPLP F BR Brain | 25.72 | 9.101 | 3158.047 | 157902.35 | 151465.5
|  | 47 RP F BR Brain | 26.96 | 5.039 | 1748.533 | 87426.65 | 47 RP F BR Brain | 27.15 | 3.277 | 1137.119 | 56855.95 | 47 RP F BR Brain | 27.25 | 3.212 | 1114.564 | 55728.2 | 66670.2667
|  | AAV9 LP F BR Brain | 27.75 | 2.995 | 1039.265 | 51963.25 | AAV9 LP F BR Brain | 27.85 | 2.028 | 703.716 | 35185.8 | AAV9 LP F BR Brain | 27.73 | 2.316 | 803.652 | 40182.6 | 42443.8833
|  | AAV9 NP F BR Brain | 26.22 | 8.203 | 2846.441 | 142322.05 | AAV9 NP F BR Brain | 26.48 | 5.188 | 1800.236 | 90011.8 | AAV9 NP F BR Brain | 26.51 | 5.315 | 1844.305 | 92215.25 | 108183.0333
|  | AAV9 NP M BR Brain | 25.91 | 10.06 | 3490.82 | 174541 | AAV9 NP M BR Brain | 25.97 | 7.359 | 2553.573 | 127678.65 | AAV9 NP M BR Brain | 25.97 | 7.677 | 2663.919 | 133195.95 | 145138.5333
|  | mock M BR Brain | 33.39 | 0.07307 | 25.3553 | 1267.7645 | mock M BR Brain | 32.79 | 0.06861 | 23.8077 | 1190.3835 | mock M BR Brain | 32.52 | 0.08883 | 30.824 | 1541.2005 | 1333.1162
|  | 47 LP M BM Brain | 25.35 | 14.55 | 5048.85 | 252442.5 | 47 LP M BM Brain | 25.22 | 12.31 | 4271.57 | 213578.5 | 47 LP M BM Brain | 25.36 | 11.63 | 4035.61 | 201780.5 | 222600.5
|  | 47 LPLP F BM Brain | 27.17 | 4.388 | 1522.636 | 76131.8 | 47 LPLP F BM Brain | 27.18 | 3.211 | 1114.217 | 55710.85 | 47 LPLP F BM Brain | 26.48 | 5.425 | 1882.475 | 94123.75 | 75322.1333
|  | 47 RP F BM Brain | 26.48 | 6.912 | 2398.464 | 119923.2 | 47 RP F BM Brain | 26.23 | 6.158 | 2136.826 | 106841.3 | 47 RP F BM Brain | 26.34 | 5.967 | 2070.549 | 103527.45 | 110097.3167
|  | AAV9 LP F BM Brain | 26.75 | 5.786 | 2007.742 | 100387.1 | AAV9 LP F BM Brain | 27.04 | 3.534 | 1226.298 | 61314.9 | AAV9 LP F BM Brain | 26.81 | 4.333 | 1503.551 | 75177.55 | 78959.85
|  | AAV9 NP F BM Brain | 27.3 | 4.028 | 1397.716 | 69885.8 | AAV9 NP F BM Brain | 28.04 | 1.78 | 617.66 | 30883 | AAV9 NP F BM Brain | 27.83 | 2.164 | 750.908 | 37545.4 | 46104.7333
|  | mock M BM Brain | 37.19 | 0.005986 | 2.0771 | 103.8571 | mock M BM Brain | 29.37 | 0.7154 | 248.2438 | 12412.19 | mock M BM Brain | 30.56 | 0.3373 | 117.0431 | 5852.155 | 6122.734
|  | 47 LP M BC Brain | 31.49 | 0.2553 | 88.5891 | 4429.455 | 47 LP M BC Brain | 31.33 | 0.1867 | 64.7849 | 3239.245 | 47 LP M BC Brain | 25.32 | 11.95 | 4146.65 | 207332.5 | 71667.0667
|  | 47 LPLP F BC Brain | 30.28 | 0.5663 | 196.5061 | 9825.305 | 47 LPLP F BC Brain | 30.62 | 0.3037 | 105.3839 | 5269.195 | 47 LPLP F BC Brain | 30.03 | 0.4839 | 167.9133 | 8395.665 | 7830.055
|  | 47 RP F BC Brain | 28.14 | 2.317 | 803.999 | 40199.95 | 47 RP F BC Brain | 27.85 | 2.028 | 703.716 | 35185.8 | 47 RP F BC Brain | 27.33 | 3.041 | 1055.227 | 52761.35 | 42715.7
|  | AAV9 LP F BC Brain | 28.53 | 1.792 | 621.824 | 31091.2 | AAV9 LP F BC Brain | 28.94 | 0.9607 | 333.3629 | 16668.145 | AAV9 LP F BC Brain | 28.74 | 1.165 | 404.255 | 20212.75 | 22657.365
|  | AAV9 NP F BC Brain | 28.35 | 2.018 | 700.246 | 35012.3 | AAV9 NP F BC Brain | 28.28 | 1.51 | 523.97 | 26198.5 | AAV9 NP F BC Brain | 28.54 | 1.334 | 462.898 | 23144.9 | 28118.5667
|  | AAV9 NP M BC Brain | 27.62 | 3.263 | 1132.261 | 56613.05 | AAV9 NP M BC Brain | 27.63 | 2.358 | 818.226 | 40911.3 | AAV9 NP M BC Brain | 27.76 | 2.27 | 787.69 | 39384.5 | 45636.2833
|  | mock M BC Brain | 35.44 | 0.01895 | 6.5757 | 328.7825 | mock M BC Brain | 30.98 | 0.2373 | 82.3431 | 4117.155 | mock M BC Brain | 31.71 | 0.1542 | 53.5074 | 2675.37 | 2373.7692
|  | 47 LP M Heart | 21.97 | 134.7 | 46740.9 | 2337045 | 47 LP M Heart | 21.99 | 112.7 | 39106.9 | 1955345 | 47 LP M Heart | 22.01 | 113.8 | 39488.6 | 1974430 | 2088940
|  | 47 LPLP F Heart | 23.24 | 58.36 | 20250.92 | 1012546 | 47 LPLP F Heart | 23.35 | 44.35 | 15389.45 | 769472.5 | 47 LPLP F Heart | 23.31 | 46.95 | 16291.65 | 814582.5 | 865533.6667
|  | 47 RP F Heart | 21.93 | 138.3 | 47990.1 | 2399505 | 47 RP F Heart | 22.03 | 109.6 | 38031.2 | 1901560 | 47 RP F Heart | 21.98 | 116.1 | 40286.7 | 2014335 | 2105133.3333
|  | AAV9 LP F Heart | 24.32 | 28.66 | 9945.02 | 497251 | AAV9 LP F Heart | 24.57 | 19.21 | 6665.87 | 333293.5 | AAV9 LP F Heart | 24.32 | 23.61 | 8192.67 | 409633.5 | 413392.6667
|  | AAV9 NP F Heart | 23.27 | 57.21 | 19851.87 | 992593.5 | AAV9 NP F Heart | 23.42 | 42.27 | 14667.69 | 733384.5 | AAV9 NP F Heart | 23.35 | 45.69 | 15854.43 | 792721.5 | 839566.5
|  | AAV9 NP M Heart | 23.42 | 51.83 | 17985.01 | 899250.5 | AAV9 NP M Heart | 23.55 | 38.66 | 13415.02 | 670751 | AAV9 NP M Heart | 23.39 | 44.46 | 15427.62 | 771381 | 780460.8333
|  | mock M Heart | 33.85 | 0.05397 | 18.7276 | 936.3795 | mock M Heart | 38.7 | 0.001194 | 0.41432 | 20.7159 | mock M Heart | 32.22 | 0.109 | 37.823 | 1891.15 | 949.4151
|  | 47 LP M Liver | 18.81 | 1079 | 374413 | 18720650 | 47 LP M Liver | 18.86 | 963 | 334161 | 16708050 | 47 LP M Liver | 18.88 | 958.3 | 332530.1 | 16626505 | 17351735
|  | 47 LPLP F Liver | 19.55 | 662.6 | 229922.2 | 11496110 | 47 LPLP F Liver | 19.57 | 591.9 | 205389.3 | 10269465 | 47 LPLP F Liver | 19.78 | 519.3 | 180197.1 | 9009855 | 10258476.6667
|  | 47 RP F Liver | 19.58 | 649.6 | 225411.2 | 11270560 | 47 RP F Liver | 19.63 | 568 | 197096 | 9854800 | 47 RP F Liver | 19.82 | 505.3 | 175339.1 | 8766955 | 9964105
|  | AAV9 LP F Liver | 21.08 | 242 | 83974 | 4198700 | AAV9 LP F Liver | 21.16 | 199 | 69053 | 3452650 | AAV9 LP F Liver | 21.25 | 190.9 | 66242.3 | 3312115 | 3654488.3333
|  | AAV9 NP F Liver | 20.41 | 376.1 | 130506.7 | 6525335 | AAV9 NP F Liver | 20.51 | 310.7 | 107812.9 | 5390645 | AAV9 NP F Liver | 20.44 | 331.3 | 114961.1 | 5748055 | 5888011.6667
|  | AAV9 NP M Liver | 19.01 | 945.5 | 328088.5 | 16404425 | AAV9 NP M Liver | 19.03 | 857 | 297379 | 14868950 | AAV9 NP M Liver | 19.16 | 791.9 | 274789.3 | 13739465 | 15004280
|  | mock M Liver | 33.92 | 0.05154 | 17.8844 | 894.219 | mock M Liver | 31.01 | 0.2324 | 80.6428 | 4032.14 | mock M Liver | 28.3 | 1.571 | 545.137 | 27256.85 | 10727.7363